{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["报价单","价格构成表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"报价单","index":0,"n_rows":5,"n_cols":9,"rows_kept":5,"merged":[[0,0,0,7],[4,0,4,5]],"flags":["formulas_cached_only"]}
[]
["序号","物料编码","物资名称","规格型号","型号","单位","数量","备注","交货期"]
[1,28010500061,"一体化热电阻温度变送器","分度号:PT100 芯数:单芯 插深:U=280mm 套管形式:无套管 连接尺寸:DN25 压力等级:PN100 防爆型式:本安型 其他:4-20mA+HART协议,详见规格书","RT94G-PT100","支",6,"E+H进口温变","20天"]
[2,28010500060,"一体化热电阻温度变送器","分度号:PT100 芯数:单芯 插深:U=450mm 套管形式:无套管 连接尺寸:DN25 压力等级:PN100 防爆型式:本安型 其他:4-20mA+HART协议,详见规格书","RT94G-PT100","支",6,"E+H进口温变","20天"]
["合计：",{"$nulls":5},12]

{"sheet":"价格构成表","index":1,"n_rows":21,"n_cols":8,"rows_kept":21,"merged":[[0,0,0,7],[1,1,1,2],[2,0,12,0],[2,1,12,1],[2,6,12,6],[13,1,13,5],[14,1,14,5],[15,1,15,5],[16,1,16,5],[17,1,17,5],[18,1,18,5],[19,0,19,4],[19,5,19,7],[20,0,21,7]],"flags":["formulas_cached_only"]}
["价格构成表"]
["序号","名称",null,"型号/规格参数","单位","数量","占总价比例（%)","品牌"]
[1,"材料成本"]
{"$rows_empty":10}
[2,"人工成本",{"$nulls":5},"\\"]
[3,"运输费用",{"$nulls":5},"\\"]
[4,"安装与调试费用",{"$nulls":5},"\\"]
[5,"税费",{"$nulls":5},"\\"]
[6,"加工费与利润",{"$nulls":5},"\\"]
[]
["总报价（元）"]
["1、人工成本包括但不限于差旅费、管理费、工作人员工资、福利、医疗保险费、社保费、津贴、加班费等所有不可预见的隐含费用。"]